## Slide 1: Basics of EEG and MEG source analysis
Carsten H. Wolters
Lecture, Oct.15, 2024
Notes: Tensor weiter erlaeutern
Zeitableitung
Programmlaenge, 1Mill.
WM-Rendering->5000 nodes
1:10 raus und anfangs erwaehnen

## Slide 2
Some more basics of EEG and MEG
Validation of EEG and MEG source analysis techniques
Source analysis of somatosensory (SEP/SEF), auditory (AEP/AEF) and visually evoked potentials and fields (VEP/VEF)
Clinical application of SEP/SEF source analysis: Functional mapping
Applications in presurgical epilepsy diagnosis
Structure of this lecture

## Slide 3: Spatial and temporal resolution of brain imaging methods
[Gazzaniga, Ivry & Mangun, Cognitive Neuroscience, 2nd ed., W.W.Norton & Company, 2002]

## Slide 4: Basics - MEG
MEG registers non-invasively magnetic fields of neuronal activity
Similar to EEG: Registration of neuronal activity
MEG and EEG measure activity of the same generators
PET or fMRI: Indirect measurement of neuronal activity
4D Neuroimaging, San Diego, CA, USA

## Slide 5: Magnetically shielded room

## Slide 6: MEG Interna

## Slide 7: Registration of the magnetic flux
Magnetometer
Axiales Gradiometer
Planares Gradiometer
Papanicolaou (Ed.): Clinical Magnetoencephalography and Magnetic Source Imaging
Superconducting quantum interference device (SQUID)

## Slide 8
MEG-system at IBB, Uni Münster
Finite Element nodes for MEG sensor description
[Lanfer, diploma thesis, 2007]
Notes: 8

## Slide 9
Some more basics of EEG and MEG
Validation of EEG and MEG source analysis techniques
Source analysis of somatosensory (SEP/SEF), auditory (AEP/AEF) and visually evoked potentials and fields (VEP/VEF)
Clinical application of SEP/SEF source analysis: Functional mapping
Applications in presurgical epilepsy diagnosis
Structure of this lecture

## Slide 10: Reminder to the forward problem in EEG/MEG
[Wolters & de Munck, Scholarpedia, 2007]
[de Munck, Wolters & Clerc, In: Handbook of neural activity measurement, 2012]
potential distribution
or current
Simulate
Notes: 10

## Slide 11: Step 1 in validation of forward modeling: Computer simulations in multi-layer sphere models

## Slide 12: Analytical solutions in multilayer sphere model
4-layer sphere model with 3-layer skull:
Radii: 92, 86:84:82:80, 78mm;
Cond.: 0.33, 0.0062:0.021:0.0049, 1.79, 0.33 S/m
Sources:
Depth from midpoint to CSF boundary
[de Munck & Peters, IEEE Trans Biomed. Eng., 1993]
[Wolters, Köstler, Möller, Härtlein, Grasedyck & Hackbusch, SIAM Journal on Scientific Computing, 2007]
Notes: D: electric displacement
rho: electric free charge density
E: electric field
B: magnetic induction
mu: magnetic permeability (vacuum)
j: electric current density
Phi: electric scalar potential
Psi: magnetic flux
A: magnetic vector potential
divA=0: Coulomb’s gauge
conductor loop

## Slide 13: Next step in validation of source analysis techniques: Animal model

## Slide 14
Validation in rabbit investigations
[Lau, Güllmar, Flemming, Grayden, Cook,Wolters & Haueisen, Frontiers in Neuroscience, 2016]

## Slide 15
Validation in rabbit investigations
[Lau, Güllmar, Flemming, Grayden, Cook,Wolters & Haueisen, Frontiers in Neuroscience, 2016]

## Slide 16
Some more basics of EEG and MEG
Validation of EEG and MEG source analysis techniques
Source analysis of somatosensory (SEP/SEF), auditory (AEP/AEF) and visually evoked potentials and fields (VEP/VEF)
Clinical application of SEP/SEF source analysis: Functional mapping
Applications in presurgical epilepsy diagnosis
Structure of this lecture

## Slide 17
SEP-P20
SEF-P20
Source analysis: The inverse Problem
Reconstruct
source
[Aydin, Vorwerk, Küpper, Heers, Kugel, Galka, Hamid, Wellmer, Kellinghaus, Rampp & Wolters, PLOS ONE, 2014]

## Slide 18
SEP-P20
SEF-P20
Reconstruct
source
Source analysis: The inverse Problem
[Aydin, Vorwerk, Küpper, Heers, Kugel, Galka, Hamid, Wellmer, Kellinghaus, Rampp & Wolters, PLOS ONE, 2014]

## Slide 19
sources
Reconstruct
[Okamoto, Stracke, Wolters, Schmael & Pantev, J Neurosci, 2007]
[Lucka, Burger, Pursiainen & Wolters, NeuroImage, 2012]
AEF-N100
AEP-N100
Source analysis: The inverse Problem

## Slide 20
sources
Reconstruct
AEF-N100
AEP-N100
[Okamoto, Stracke, Wolters, Schmael & Pantev, J Neurosci, 2007]
[Lucka, Burger, Pursiainen & Wolters, NeuroImage, 2012]
Source analysis: The inverse Problem

## Slide 21: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 22: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 23: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 24: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 25: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 26: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 27: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 28: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 29: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 30: Visually evoked potentials (VEP) and Fields (VEF)
[Rutz, Bachelor Thesis in Biomed Eng, 2022]

## Slide 31
Some more basics of EEG and MEG
Validation of EEG and MEG source analysis techniques
Source analysis of somatosensory (SEP/SEF), auditory (AEP/AEF) and visually evoked potentials and fields (VEP/VEF)
Clinical application of SEP/SEF source analysis: Functional mapping
Applications in presurgical epilepsy diagnosis
Structure of this lecture

## Slide 32
Clinical applicability of SEP/SEF source analysis
[Roberts, Poeppel and Rowley, MEG and magnetic source imaging, Neuropsychiatry Neuropsych.Behav.Neurol., 11, pp.49-64, 1998]
Tumor near the central sulcus

## Slide 33
Clinical applicability of SEP/SEF source analysis
[Roberts, Poeppel and Rowley, MEG and magnetic source imaging, Neuropsychiatry Neuropsych.Behav.Neurol., 11, pp.49-64, 1998]
Tactile stimulation of the right index finger: SEF (left) and fitted dipole (right)

## Slide 34
Clinical applicability of SEP/SEF source analysis
[Roberts, Poeppel and Rowley, MEG and magnetic source imaging, Neuropsychiatry Neuropsych.Behav.Neurol., 11, pp.49-64, 1998]
Tumor (green) and MEG dipole fits (red) for continuous stimulation of fingers and toes

## Slide 35
Some more basics of EEG and MEG
Validation of EEG and MEG source analysis techniques
Source analysis of somatosensory (SEP/SEF), auditory (AEP/AEF) and visually evoked potentials and fields (VEP/VEF)
Clinical application of SEP/SEF source analysis : Functional mapping
Applications in presurgical epilepsy diagnosis
Structure of this lecture

## Slide 36: Source analysis in presurgical epilepsy diagnosis
0.5%-1% of world population suffers from epilepsy, most of them from focal epilepsy
70-80% of patients successfully treated with drugs
For those who are still pharma-resistent after 2-3 drugs
  Probability of success of a further different drug: 6% (Wiebe et al 2001)
  Probability of success of a surgical treatment: 50% (Wiebe et al 2001)
Indispensable prerequisite for surgery: Focal epilepsy->Localization
  Gold standard: Video-monitoring and visual inspection of the EEG (Wilson 1996)
  MRI: Identification of an underlying lesion
  PET and Neuropsychology: Localization of a functional deficit
  Source analysis of
    EEG seizure (ictal) activity (Plummer et al., 2008)
    EEG/MEG interictal activity: “irritative zone” (Stefan et. al., 2003)
Notes: PEBBLES: Parallel and Element Based grey Box Linear Equation Solver

## Slide 37: Zone-concept in epilepsy diagnosis
Interictal spikes in EEG/MEG
EEG(/MEG) registration during a seizure (ictal)
Notes: Analysis of seizure semiology determines the identification of the symptomatogenic zone. In addition, the EEG recording during a seizure (ictal) is needed to detect the seizure onset zone, the magnetic resonance imaging (MRI) localizes an underlying lesion, and the functional deficit zone is determined by nuclear imaging (PET) and/or corresponding deficits in neuropsychological testing (Rosenow and Lüders, 2001).

## Slide 38: Epileptic spikes in EEG and MEG
Clear spike in EEG
Nearly no/no signal in MEG

## Slide 39: Epileptic spikes in EEG and MEG
Clear spike in EEG
Nearly no/no signal in MEG
Deep source
Strongly radially oriented source

## Slide 40: Sensitivity for radial and tangential sources
MEG registers mainly tangential source components: Sulci-walls: tangential pyramidal cells -> High amplitudes
„Diagonal“ orientation -> Medium amplitude
Radial sources hardly produce an MEG: Depth and crown of sulci: radial pyramidal cells -> Low contribution

## Slide 41: Epileptic spikes in EEG and MEG
Clear signal in MEG,
poor signal in EEG
Explanation?

## Slide 42: Sensitivity
Goldenholz et al., 2009
Blue: Sensitivity EEG > MEG for radial and deep sources
Red: Sensitivity MEG > EEG in sulcal wall areas
[Piastra,… & Wolters, in preparation for submission]

## Slide 43: Complementarity of EEG and MEG
Iwasaki et al 2005:
  EEG/MEG: 72% (31/43 pat)
  Only EEG: 2% (1/43 pat)
  Only MEG: 19% (8/43 pat)
  None: 7% (3/43 pat)
Knake et al 2006:
  EEG/MEG: 75% (50/67 pat)
  Only EEG: 3% (2/67 pat)
  Only MEG: 13% (9/67 pat)
  None: 25% (17/67 pat)
What should we use?
MEG instead of EEG? Only EEG?

## Slide 44: Combined EEG and MEG
275 channel axial gradiometer whole-cortex MEG
128 channel EEG
Notes: Cohen et al. measured first MEG in 1968: alpha-activity is about 10^7 times weaker than the earth magnetic field

## Slide 45: Patient study 1: Source analysis of interictal spikes in presurgical epilepsy diagnosis

## Slide 46: Averaged interictal EEG spikes
Measure EEG and/or MEG
[Wolters & Kellinghaus, 2006]
Notes: About 0.25% of the world population suffers from drug-resistnt epilepsy and bout 10-15% would profit from a surgical removl of the epileptogenic tissue.
42 year old female suffering from medically intractable complex partial seizures of mesial-temporal origin
Seizures had duration of up to 10 minutes and a frequency of twice to 5 times a month
Measurements:
=========
A short-term barbiturate (Schlafmittel), known to provoke epileptiform activity
-> 60-channel EEG montage with reference at the ear contralateral to the epileptic focus
Source reconstruction:
==============
Single dipole fit at signal peak
->Localization of the secondary activations, propagating along the temporal cortical surface
->Primary activity in the hippocampus and the amygdala (cannot be measured outside)
Therapy:
======
Selective amygdalohippocampectomy
-> Patient free of seizures

## Slide 47: Results of combined EEG/MEG dipole fit
Inverse method: Single current dipole
[Wolters & Kellinghaus, 2006]
EEG data and (transparent) cortex
MEG data and (transparent) cortex
Notes: 42 year old female suffering from medically intractable complex partial seizures of mesial-temporal origin
Seizures had duration of up to 10 minutes and a frequency of twice to 5 times a month
Measurements:
=========
A short-term barbiturate (Schlafmittel), known to provoke epileptiform activity
-> 60-channel EEG montage with reference at the ear contralateral to the epileptic focus
Source reconstruction:
==============
Single dipole fit at signal peak
->Localization of the secondary activations, propagating along the temporal cortical surface
->Primary activity in the hippocampus and the amygdala (cannot be measured outside)
Therapy:
======
Selective amygdalohippocampectomy
-> Patient free of seizures

## Slide 48: Results of combined EEG/MEG L1 norm current density reconstruction
Inverse method: L1 norm current density
[Wolters & Kellinghaus, 2006]
EEG data and (nontransparent) cortex
MEG data and (nontransparent) cortex
Notes: 42 year old female suffering from medically intractable complex partial seizures of mesial-temporal origin
Seizures had duration of up to 10 minutes and a frequency of twice to 5 times a month
Measurements:
=========
A short-term barbiturate (Schlafmittel), known to provoke epileptiform activity
-> 60-channel EEG montage with reference at the ear contralateral to the epileptic focus
Source reconstruction:
==============
Single dipole fit at signal peak
->Localization of the secondary activations, propagating along the temporal cortical surface
->Primary activity in the hippocampus and the amygdala (cannot be measured outside)
Therapy:
======
Selective amygdalohippocampectomy
-> Patient free of seizures

## Slide 49: Thank you for your attention!
SIM-NEURO
work-group